## Sheet1
Withdrawn Cylinder Standards
Standard | Description | Notes
General Register Notes | 1. These standards must not be used for the manufacture of new cylinders. A cylinder cannot be manufactured or imported into New Zealand if it is designed to a standard that appears on this list even if there is an approved design (LAB) on the WorkSafe register. A cylinder import clearance certificate cannot be issued for a cylinder designed to a standard on this list. 2. Existing cylinders conforming to these standards and an approved design (LAB) may continue in service provided they have current periodic certification. 3. SP LAB approvals (pre-commissioning waivers) will not be granted for cylinders manufactured to standards on this list unless specified in the "Notes" against that standard.
American and Canadian
CTC-SP922 | Aluminium alloy SCUBA | Withdrawn March 1980
DOT 4A | Forged welded steel cylinders Service pressure 1.03 MPa to 3.44 Mpa | Withdrawn by US Department of Transportation 11 September 1980
DOT 7072 | Aluminium alloy SCUBA and N20 | Withdrawn March 1980
DOT-E 6498 | Seamless high pressure cylinder made of aluminium alloy 6351-T6 | Withdrawn by US Department of Transportation 30 March 1980. Cylinder manufactured to this standard prior to 1980 and therefore lacking LAB number must not be filled or tested.
DOT-SP 6517 | Welded steel cylinders based on DOT 4BW for acetylene | US Department of Transportation permit expires 31 May 2010
DOT-SP 6688 | Seamless cylinder with maximum service pressure 150 psi and minimum water capacity of 1000 pounds made of aluminium alloy 6351-T6 | Withdrawn by US Department of Transportation 31 October 1979 (Restricted use see 10.11 of Guide to Gas Cylinders)
DOT-E 7042 | Seamless cylinder with minimum service pressure 150 psi and maximum water capacity of 1000 pounds made of aluminium alloy 6351-T6 | Withdrawn by US Department of Transportation March 1980. Cylinder manufactured to this standard prior to 1980 and therefore lacking LAB number must not be filled or tested.
DOT-SP 7542 | Welded steel cylinders based on DOT 4BW with porous filling for acetylene | US Department of Transportation permit expires 31 May 2010
DOT-E 7638 | Cryogenic cylinder | US Department of Transportation permit expired 30 September 1991
DOT-E 8063 | Cryogenic cylinder for non flammable gases based on DOT 4L | US Department of Transportation permit expired 30 September 1994
DOT-SP 10227 | Cryogenic cylinders for liquid oxygen based on DOT 4L | US Department of Transportation permit expired 31 May 2010
DOT-SP 7235, 24th revision, published by the U.S. Department of Transportation | Fibre-reinforced plastic hoopwrapped cylinders conforming to DOT FRP-2 Standard Revision 1 (dated 4 January 1987), with exceptions Expires 30 September 2018 | US Department of Transportation permit expires 30 September 2018. These cylinders have a 15 year authorised service life.
DOT-SP 7235, 25th revision, published by the U.S. Department of Transportation | Fibre-reinforced plastic hoop-wrapped cylinders conforming to DOT FRP-2 Standard Revision 1 (dated 4 January 1987), with exceptions. Expires 30 April 2022 | US Department of Transportation permit expired 30 April 2022
DOT-SP 8725, 21st revision, published by the U.S. Department of Transportation | Fibre reinforced plastic hoopwrapped aluminium cylinders conforming to DOT FRP-2 Standard Revision 1 (dated 4 January 1987) for transportation of certain non-liquefied compressed gases, with exceptions Expires 31 May 2018 | US Department of Transportation permit expired 31 May 2018
DOT-SP 8725, 22nd revision, published by the U.S. Department of Transportation | Fibre reinforced plastic hoop-wrapped aluminium cylinders conforming to DOT FRP-2 Standard Revision 1 (dated 4 January 1987) for transportation of certain non-liquefied compressed gases, with exceptions. Expires 31 March 2022 | US Department of Transportation permit expired 31 March 2022
DOT-SP 9634, 9th revision, published by the U.S. Department of Transportation | Fibre reinforced plastic full composite cylinders conforming to DOT FRP-1 Standard Revision 2 (dated 15 February 1987), with exceptions. Expires 30 September 2018 | US Department of Transportation permit expired 30 September 2018
DOT-SP 9634, 10th revision, published by the U.S. Department of Transportation | Fibre reinforced plastic full composite cylinders conforming to DOT FRP-1 Standard Revision 2 (dated 15 February 1987), with exceptions. Expires 30 May 2022 | US Department of Transportation permit expired 30 May 2022
DOT-SP 10915 21st revision, published by the U.S. Department of Transportation | Fully wrapped carbon-fibre reinforced aluminium lined cylinders conforming to DOT CFFC | US Department of Transportation permit expired 30 April 2020
DOT-SP 10945, 27th revision, published by the U.S. Department of Transportation | Fully wrapped carbon fibre reinforced aluminium lined cylinders conforming to DOTCFFC, fifth revision, with exceptions Expires 31 December 2020 | US Department of Transportation permit expired 31 December 2020
DOT-SP 11953, 7th revision, published by the U.S. Department of Transportation | Welded steel cylinder conforming to DOT 4BW for non-liquefied and liquefied compressed gases, with exception for increased water capacity Expires 31 March 2021 | US Department of Transportation permit expired 30 Sept 2018
DOT-SP 12098, 8th revision, published by the U.S. Department of Transportation | Welded spherical cylinders for use in a re-breather unit, conforming to DOT 3HT, with exceptions Expires 31 May 2018 | US Department of Transportation permit expired 31 May 2018
DOT-SP 12098, 9th revision, published by the U.S. Department of Transportation | Welded spherical cylinders for use in a re-breather unit, conforming to DOT 3HT, with exceptions, expires 31 March 2022 | US Department of Transportation permit expired 31 March 2022
Australian & New Zealand
AS 1210 | Pressure Vessels | Was approved for vehicle fuel tanks
AS 1841 | Portable fire extinguishers- Water (gas container) type
AS 1842 | Portable fire extinguishers- Water (stored pressure) type
AS 1844 | Portable fire extinguishers- Foam (gas contaIner) type
AS 1845 | Portable fire extinguishers- Foam (stored pressure) type
AS 1846 | Portable fire extinguishers- Powder type
AS 1848 | Portable fire extinguishers- Halon type
AS 2468-1989 | Steel cylinders for compressed gases – Brazed – 0.1 kg to 11 kg
AS 2873 | Carbon-manganese steel cylinders for compressed gases – Seamless – 0.1 kg to 500 kg | Withdrawn by Standards Australia 6 September 2004
AS 2874 | High tensile carbon-manganese steel cylinders for compressed gases – Seamless – 0.1 kg to 500 kg | Withdrawn by Standards Australia 6 September 2004
AS B10 | High carbon steel cylinder | Withdrawn by Standards Australia March 1980
AS B11 | High carbon steel cylinder | Withdrawn by Standards Australia March 1980
AS B114 | Alloy steel cylinders for the storage and transport of permanent gases and high pressure liquefiable gases | Withdrawn by Standards Australia 1 July 1996
AS B115 | Welded or brazed steel cylinders for compressed gases | Withdrawn by Standards Australia 1 July 1996
AS B189 | Welded capsule type steel cylinders for the storage and transport of compressed acetylene dissolved in acetone | Withdrawn by Standards Australia March 1980
AS B239 | Welded steel cylinders for compressed gases of capacity over 10 litres up to and including 130 litres | Withdrawn by Standards Australia 1 July 1996
AS Z42 | Non-returnable metal aerosol containers of up to and including 50 cubic inches capacity | Declared superseded by Standards Australia January 1985
AS/NZS 3509 | LP Gas fuel vessels for automotive use | Cylinders that are part of the motive or control systems of a vehicle are not covered by HSNO.
NZS 4506 | Specification for portable fire extinguishers of the water, foam and dry powder types | Superseded by AS/NZS 1841 Parts 1, 2, 4 & 5:1997
NZS 4551 | Specification for portable fire extinguishers of the halogenated hydrocarbon type | Withdrawn by Standards New Zealand
RI 1415
British
BS 399 | High C Steel SCUBA | Withdrawn March 1980
BS 400 | Low C Steel SCUBA | Withdrawn March 1980
BS 401 | Steel | Withdrawn March 1980
BS 740 | Foam Fire Ext’s SCUBA | Withdrawn March 1980
BS 1045 | Mn Steel SCUBA | Withdrawn March 1980
BS 1287 | High C Steel SCUBA | Withdrawn March 1980
BS 1288 | Mn Steel SCUBA | Withdrawn March 1980
BS 1319 | Specification for medical gas cylinders, valves and yoke connections | Withdrawn by British Standards 15 March 1997 Replaced by BS EN 850:1997 which was then replaced by BS EN ISO 407:2004
BS 1382 | Water Ext’s SCUBA | Withdrawn March 1980
BS 1721 | Halogenated Hydrocarbon Ext’s SCUBA | Withdrawn March 1980
BS EN 1964-1:2000 | Transportable gas cylinders. Specification for the design and construction of refillable transportable seamless steel gas cylinders of water capacities from 0,5 litre up to and including 150 litres. Cylinders made of seamless steel with a Rm value of less than 1100 MPa | Withdrawn 30 June 2010. Replaced by ISO 9809-1
BS EN 1964-2:2001 | Transportable gas cylinders. Specification for the design and construction of refillable transportable seamless steel gas cylinders of water capacities from 0,5 litre up to and including 150 litres. Cylinders made of seamless steel with a Rm value of 1100 MPa and above | Withdrawn 30 June 2010. Replaced by ISO 9809-2
BS EN 1975:2000 | Transportable gas cylinders. Specification for the design and construction of refillable transportable seamless aluminium and aluminium alloy gas cylinders of capacity from 0,5 litre up to 150 litre | Withdrawn 30 June 2010. Replaced by ISO 7866: 2012
BS 3465 | Dry Powder Ext’s SCUBA | Withdrawn March 1980
BS 5045.1 | Transportable gas containers. Specification for seamless steel gas containers above 0.5 litre water capacity | Withdrawn by British Standards May 2000. Withdrawn for use in New Zealand in September 2003. SP LAB approvals may be granted only for cylinders manufactured prior to Sept 2003.
BS 5045-2:1989 | Transportable gas containers. Specification for steel containers of 0.5 L up to 450 L water capacity with welded seams
BS 5423:1987 | Specification for portable fire extinguishers | Withdrawn January 1997
HOAL-1 | Al Alloy Sup by HOAL 4 SCUBA | Withdrawn March 1980
HOAL-3 | Specification for seamless aluminium alloy containers for the conveyance of compressed and liquefied gases SCUBA | Declared obsolete by HSE UK 10 May 2004
HOAL-4 | Specification for seamless aluminium alloy containers for the conveyance of compressed and liquefied gases SCUBA | Declared obsolete by HSE UK 10 May 2004
HOS | Specification for seamless alloy steel cylinders for the SCUBA conveyance of compressed gases | Withdrawn March 1980
HOT | Specification for seamless alloy steel cylinders for the conveyance of compressed gases BA, SCUBA | Withdrawn March 1980
HOAC 1 | Welded steel cylinder for compressed acetylene | Withdrawn March 1980
HSE-AL-HW1 | Specification for hoop-wrapped composite aluminium gas cylinders | Declared obsolete by HSE UK 10 May 2004
HSE-AL-FW2 | Specification for fully wrapped carbon composite cylinders | Declared obsolete by HSE UK 10 May 2004
HSE-HSSS-2 | Specification for high strength, high pressure seamless gas cylinders in a modified chromium molybdenum steel | Declared obsolete by HSE UK 10 May 2004
HSE-SSGC-1 | Specification for high strength, high pressure seamless gas cylinders in a modified chromium molybdenum steel | Declared obsolete by HSE UK 10 May 2004
LASS 1 | Specification for seamless lightweight alloy steel containers for compressed gases | Declared obsolete by HSE UK 10 May 2004
LASW 1 | Seamless aluminium Fusion welded alloy | No longer manufactured
Admiralty | Steel comp Air | Withdrawn March 1980
BOC DA2A | Steel Acetylene | Withdrawn March 1980
Calor | Steel LPG | Withdrawn March 1980
DEF-168 | Mark 12A See section 10.11 | Withdrawn March 1980
HO 876365 | Max Cap 20 lb | Withdrawn March 1980
LUXINT | Seamless aluminium SCUBA | Withdrawn March 1980
MoD 0.133 | Mark 5 See section 10.11 | Withdrawn March 1980
MoS 0.97 | Mark 7Am See section 10.11 | Withdrawn March 1980
PM3888K
RT 9622830 and 4652 | 3000 psi | Withdrawn March 1980
BS EN 12205:2001 | Non-refillable cylinders | replaced by ISO standard
ISO
ISO 4705 | Refillable seamless steel gas cylinders | Withdrawn and replaced by ISO 9809-3:2000
Other
84/526/EEC | Seamless unalloyed aluminium and aluminium alloy gas cylinders with capacity between 0.5 to 150 litres
ABS | Welded or brazed cylinders | Withdrawn March 1980
ANCC Italian National Rules | Seamless steel Auto | Part 1
Apragaz 72/5 | Welded steel LPG auto only | Withdrawn November 1981
DIN 4665 | Seamless steel CO2 | Withdrawn March 1980
JIS B8241 | Seamless steel Auto | Withdrawn November 1981
MF 008170 |  | Withdrawn March 1980
MF 008172
MK 217/76 | Hungarian welded aluminium alloy LPG cylinders
MK 231/85 |  | Withdrawn March 2004
N 393-397 | Seamless steel FP 150 Atm. TP 250 Atm. Argon, nitrogen, carbon dioxide | Withdrawn March 1980
Nordgas | John Klinger of Heide, Germany | Withdrawn March 1980
Optimus | 802803804805 LPG TP 3.45 MPa | Withdrawn March 1980
PF7405 | 2007, 2010, 2012, 2916, 2960 Min TP 3.0 MPa | Withdrawn September 1983
Primus | 2000, 2005, 2006, LPG PF7405 | Withdrawn September 1983
Sievert | 3962S, 3967S, 3965S LPG TP 3.3 MPa | Withdrawn March 1980
TRG (German Compressed Gas Regulations) | Seamless steel See 10.9 | Withdrawn March 1980