## Sheet1
Cylinder Fitting Standards
Standard | Title | Notes
Cylinder valves
AS 2473.1-2006 | Valves for compressed gas cylinders -specifications, type testing and manufacturing tests and inspection | See Reg 15.28 HSWA (Hazardous Substances) Regulations 2017
AS 2473.2-2015 | Valves for compressed gas cylinders - Outlet connections (threaded) and stem (inlet) threads | See Reg 15.28 HSWA (Hazardous Substances) Regulations 2017
AS 2473.3–2007 | Valves for compressed gas cylinders - oulet connection for medical gases (Including pin-indexed yoke connections) | See Reg 15.28 HSWA (Hazardous Substances) Regulations 2017
BS 341 | Transportable gas container valves | See Reg 15.28 HSWA (Hazardous Substances) Regulations 2017
BS 1552 | Specification for open bottomed taper plug valves for 1st, 2nd and 3rd family gases up to 200 mbar | See Reg 15.28 HSWA (Hazardous Substances) Regulations 2017
BS EN ISO 10297:2014 | Transportable gas cylinders. Cylinder valves. Specification and type testing | See Reg 15.28 HSWA (Hazardous Substances) Regulations 2017
BS EN ISO 12209-2013 | Gas cylinders. Outlet connections for gas cylinder valves for compressed breathable air | See Reg 15.28 HSWA (Hazardous Substances) Regulations 2017
EN ISO 407:2004 | Small medical gas cylinders. Pin-index yoke-type valve connections | See Reg 15.28 HSWA (Hazardous Substances) Regulations 2017
UL 125-2009 | Flow control valves for Anhydrous Ammonia and LP-Gas | See Reg 15.28 HSWA (Hazardous Substances) Regulations 2017
UL 1769-2006 | Standard for Cylinder Valves | See Reg 15.28 HSWA (Hazardous Substances) Regulations 2017
UL 2061 | Adapters and cylinder connection devices for portable LP-Gas cylinder assemblies | See Reg 15.28 HSWA (Hazardous Substances) Regulations 2017
Outlet connections for cylinder valves
AS 2030.5-2009 | Filling, inspection and testing of refillable cylinders | See Reg 15.29 HSWA (Hazardous Substances) Regulations 2017
UL 2061 | Adapters and cylinder connection devices for portable LP-Gas cylinder assemblies | See Reg 15.29 HSWA (Hazardous Substances) Regulations 2017
Cylinder over-pressure protection
AS 2030.5-2009 | Filling, inspection and testing of refillable cylinders | See Reg 15.31 HSWA (Hazardous Substances) Regulations 2017
Regulators (other than LPG)
AS 3840.1-1998 | Pressure regulators for use with medical gases - Pressure regulators and pressure regulators with flow-metering devices | See Reg 15.32 HSWA (Hazardous Substances) Regulations 2017
AS 4267-1995 | Pressure regulators for use with industrial compressed gas cylinders | See Reg 15.32 HSWA (Hazardous Substances) Regulations 2017
LPG Regulators or automatic changover devices
AS 2473.2-2015 | Valves for compressed gas cylinders - Outlet connections (threaded) and stem (inlet) threads | See Reg 15.33 HSWA (Hazardous Substances) Regulations 2017
AS 4621-2004 | Regulators for use with liquefied petroluem - Vapour phase | See Reg 15.33 HSWA (Hazardous Substances) Regulations 2017
BS EN 16129-2013 | Pressure regulators automatic changeover devices, having a maximum regulated pressure of 4 bar, with a maximum capacity of 150kh/h, associated safety devices and adaptors for butane, propane and their mixtures | See Reg 15.33 HSWA (Hazardous Substances) Regulations 2017
CGA V 1-2013 | Compressed gas cylinder oulet and inlet connections | See Reg 15.33 HSWA (Hazardous Substances) Regulations 2017
UL 144 2012 | LP-Gas Regulators | See Reg 15.33 HSWA (Hazardous Substances) Regulations 2017
UL 252 | Compressed Gas Regulators | See Reg 15.33 HSWA (Hazardous Substances) Regulations 2017
Overfill protection devices for LPG cylinders
UL 2227 | Overfilling Prevention Devices | See Reg 15.34 HSWA (Hazardous Substances) Regulations 2017
LPG valve outlet adaptors
The (former) Department of Labour standard for clip on adaptors based on LPGITA No 15 Part 1:1992 | LPG valve oulet adaptors | See Reg 15.35 HSWA (Hazardous Substances) Regulations 2017